## Development Guide
Development Guide
When the receiver receives the data, do not do too many logical business processes, otherwise it will block the real-time push queue of the platform.
Platform record push and picture push are pushed separately, and correspond to the path in the record and the path attribute of the pushed picture.

## Push format
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique
Push Center | Push Format | module | varchar | 50 | NO | YES | YES | Module code acc=Access Control att=Attendance ivs=Smart Video ele=Elevator Control pid=Personal Card pgs=Passage ins=Information Screen
|  | moduleName | varchar | 50 | NO | NO | YES | Module name
|  | pushType | varchar | 50 | YES | NO | NO | Push type 1=Information screen-verification event 2=Information screen-verify photo 3=Personal testimony--comparison record 4=Personal ID-Compare photos 5=Attendance-attendance record 6=Attendance-attendance photo 7=Access Control-Event Record 8=Access Control-Snap Photos 9=Ladder Control-Event Record 10=Ladder control-snap photos (reserved) 11=channel-event record 12=Channel-Snapshot photos (reserved) 13=Smart Video-Event Record 14=Smart Video-Snap Photos
|  | pushTypeName | varchar | 50 | YES | NO | NO | Push type name
|  | dataType | varchar | 50 | NO | NO | YES | Push type text=json string format image=Image resource
|  | content | text |  | NO | NO | NO | Push data content, json string format, see specific data formats such as attendance, access control, smart video, etc.

## Attendance
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Attendance | Attendance Record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | personPin | varchar | 50 | NO | NO | YES | personnel number
|  | personName | varchar | 50 | YES | NO | NO | Person's name
|  | personLastName | varchar | 50 | YES | NO | NO | Personnel Last Name (Overseas)
|  | deptId | varchar | 50 | NO | NO | YES | Associated department ID
|  | deptCode | varchar | 30 | NO | NO | YES | Department code
|  | deptName | varchar | 50 | NO | NO | YES | Department name
|  | areaId | varchar | 50 | YES | NO | YES | Zone associated domain ID
|  | areaNo | varchar | 30 | YES | NO | YES | Region code
|  | areaName | varchar | 50 | YES | NO | NO | Area name
|  | deviceId | varchar | 50 | NO | NO | NO | Device ID
|  | deviceSn | varchar | 50 | YES | NO | NO | devise serial number
|  | deviceName | varchar | 50 | YES | NO | NO | Equipment name
|  | doorNo | int2 | 16 | YES | NO | NO | Door number
|  | attDatetime | timestamp |  | NO | NO | NO | Attendance date and time
|  | attDate | varchar | 30 | NO | NO | NO | Attendance date
|  | attTime | varchar | 30 | NO | NO | NO | Attendance time
|  | attState | varchar | 20 | NO | NO | NO | Attendance status (reserved field)
|  | attVerify | varchar | 10 | YES | NO | NO | Ways of identifying 0=automatic identification, 1=fingerprint only, 2=work ID verification, 3=password only, 4=card only, 5=fingerprint or password, 6=fingerprint or card, 7=card or password, 8=work ID plus fingerprint, 9=fingerprint plus password, 10=card plus fingerprint, 11=card plus password, 12=fingerprint plus password plus card, 13=work ID plus fingerprint plus password, 14=(work ID plus fingerprint) or (card plus fingerprint), 15=face, 16=face plus fingerprint, 17=face plus password, 18=face plus card, 19=face plus fingerprint plus card, 20=face plus fingerprint plus password, 21=finger vein, 22=finger vein plus password, 23=finger vein plus card, 24=finger vein plus password plus card, 25=palmprint, 26=palmprint plus card, 27=palmprint plus face, 28=palmprint plus fingerprint, 29=palmprint plus fingerprint plus face
|  | attPhotoUrl | varchar | 255 | YES | NO | YES | Attendance photo path
|  | mark | varchar | 10 | NO | NO | NO | Logo att=attendance, acc=access control, park=parking lot, ins=information screen, pid=person ID, app=mobile phone, vms=vms video, att-sign=sign up, vid=vid video, vis=smart video, psg=channel
|  | attPlace | varchar | 250 | YES | NO | NO | Mobile check-in location (reserved field)
|  | maskFlag | varchar | 10 | YES | NO | NO | Whether to wear a mask 0=means not wearing a mask; 1=means wearing a mask
|  | temperature | varchar | 10 | YES | NO | NO | Body temperature, in degrees Celsius ℃
| Attendance photos | path | varchar | 255 | NO | NO | YES | Attendance photo path
|  | base64 | text |  | NO | NO | YES | Base64 encoding of attendance photos

## Personal Card
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Personal Card | Compare records | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | personPin | varchar | 50 | NO | NO | YES | personnel number
|  | personName | varchar | 50 | YES | NO | NO | Person's name
|  | gender | varchar | 10 | YES | NO | NO | gender 0=unknown, M=male, F=female
|  | nation | varchar | 20 | YES | NO | NO | nationality 1=Han, 2=Mongolian, 3=Hui, 4=Tibet, 5=Uygur, 6=Miao, 7=Yi, 8=Zhuang, 9=Buyi, 10=Korean, 11=Manchu, 12=Dong, 13=Yao, 14=Bai, 15=Tujia, 16=Hani, 17=Kazakh, 18=Dai, 19=Li, 20=Li, 21=Wa, 22=She, 23=Gaoshan, 24=Lahu, 25=Shui, 26=Dongxiang, 27=Naxi, 28=Jingpo, 29=Kirgiz, 30=Tu, 31=Daur, 32=Mula, 33=Qiang, 34=Blang, 35=Sala, 36=Maonan, 37=Gelao, 38=Xibo, 39=Achang, 40=Pumi, 41=Tajik, 42=Nu, 43=Uzbek, 44=Russian, 45=Ewenki, 46=Deang, 47=Baoan, 48=Yugu, 49=Jing, 50=Tatar, 51=Dulong, 52=Oroqen, 53=Hezhe tribe, 54=Menba tribe, 55=Lhoba tribe, 56=Kino tribe, 57=Chuanqing tribe
|  | deviceId | varchar | 50 | NO | NO | NO | Device ID
|  | deviceSn | varchar | 50 | NO | NO | NO | devise serial number
|  | deviceName | varchar | 50 | NO | NO | NO | Equipment name
|  | verifyTime | timestamp | 16 | NO | NO | NO | Verification time
|  | verifyMode | varchar | 20 | NO | NO | NO | Verification Method 15=face, 1=fingerprint, 4=card number, 10=IC card+fingerprint, 18=IC card+face, 19=IC card+fingerprint+face
|  | verifyResult | varchar | 20 | NO | NO | NO | Verification Results 0=success, 1=failure, 2=ban list
|  | idCardNumber | varchar | 255 | YES | NO | YES | identification number
|  | cardNo | varchar | 50 | YES | NO | YES | card number
|  | capturePhoto | varchar | 255 | YES | NO | YES | Live photo path
| Live photos | path | varchar | 255 | NO | NO | YES | Live photo path
|  | base64 | text |  | NO | NO | YES | Base64 encoding of live photos

## Information Screen
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Information Screen | Verification record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | personPin | varchar | 50 | NO | NO | YES | personnel number
|  | personName | varchar | 50 | YES | NO | NO | Person's name
|  | personLastName | varchar | 50 | YES | NO | NO | Personnel Last Name (Overseas)
|  | deptId | varchar | 50 | NO | NO | YES | Associated department ID
|  | deptCode | varchar | 30 | NO | NO | YES | Department code
|  | deptName | varchar | 50 | NO | NO | YES | Department name
|  | areaId | varchar | 50 | YES | NO | YES | Zone associated domain ID
|  | areaNo | varchar | 30 | YES | NO | YES | Region code
|  | areaName | varchar | 50 | YES | NO | NO | Area name
|  | deviceId | varchar | 50 | NO | NO | NO | Device ID
|  | deviceSn | varchar | 50 | YES | NO | NO | devise serial number
|  | doorNo | int2 | 16 | YES | NO | NO | Door number
|  | attDatetime | timestamp |  | NO | NO | NO | Verification time date time
|  | attDate | varchar | 30 | NO | NO | NO | Verification time and date
|  | attTime | varchar | 30 | NO | NO | NO | Verification time
|  | attState | varchar | 20 | NO | NO | NO | Verification status (reserved field)
|  | attVerify | varchar | 10 | YES | NO | NO | Verification method (reserved field)
|  | verifyPhotoUrl | varchar | 255 | YES | NO | YES | Verify photo photo path
|  | mark | varchar | 10 | NO | NO | NO | Identification (reserved field)
| Verify photo | path | varchar | 255 | NO | NO | YES | Verify photo path
|  | base64 | text |  | NO | NO | YES | Verify photo base64 encoding

## Access control
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Access control | record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | unique_key | varchar | 250 | YES | NO | YES | Event unique identifier
|  | logId | int4 | 32 | YES | NO | NO | Log ID (the device turns on LogIDFunOn: log id function switch parameter)
|  | eventTime | timestamp |  | NO | NO | NO | Event time
|  | pin | varchar | 30 | YES | NO | NO | personnel number
|  | name | varchar | 50 | YES | NO | NO | Person's name
|  | lastName | varchar | 50 | YES | NO | NO | Personnel Last Name (Overseas)
|  | deptCode | varchar | 100 | YES | NO | NO | Department Number
|  | deptName | varchar | 100 | YES | NO | NO | Department name
|  | areaName | varchar | 100 | YES | NO | NO | Area name
|  | cardNo | varchar | 255 | YES | NO | NO | card number
|  | devId | varchar | 255 | YES | NO | NO | Device ID
|  | devSn | varchar | 30 | YES | NO | NO | devise serial number
|  | devAlias | varchar | 100 | YES | NO | NO | Equipment name
|  | verifyModeNo | int2 | 16 | YES | NO | NO | Verification method number Old verification method: the number corresponds to the verification method New verification method: Decimal numbers are parsed into binary numbers and output in reverse order. The subscript with a value of 1 indicates the verification method used; the logical bit is 1 for and relation, and 0 for or relation
|  | verifyModeName | varchar | 500 | YES | NO | NO | Verification method name (see worksheet-verification method for details)
|  | eventNo | int2 | 16 | NO | NO | NO | Event number
|  | eventName | varchar | 100 | YES | NO | NO | Event name
|  | eventPointType | int2 | 16 | YES | NO | NO | Event Type -1=None, 0=Door event, 1=Auxiliary input point event, 2, Auxiliary output point event, 3=Equipment event
|  | eventPointId | varchar | 255 | YES | NO | NO | Incident ID Door event: If it is a reader linkage, the event point id is the reader id and the event point name is the reader name, otherwise the event point id is the id of the door, and the event point name is the name of the door Auxiliary input point event: the event point id is the id of the auxiliary input, and the event point name is the name of the auxiliary input Auxiliary output point event: the event point id is the id of the auxiliary output, and the event point name is the name of the auxiliary output
|  | eventPointName | varchar | 100 | YES | NO | NO | Incident name
|  | readerState | int2 | 16 | YES | NO | NO | Read head status, 0=in, 1=out, 2=other
|  | readerName | varchar | 100 | YES | NO | NO | Read head name
|  | triggerCond | int2 | 16 | YES | NO | NO | Linkage trigger conditions
|  | description | varchar | 200 | YES | NO | NO | Event description
|  | vidLinkageHandle | varchar | 256 | YES | NO | NO | Media file path: Verify the relative path of the photo Linkage event: type_linkage handle Type (1=pop-up video, 2=video, 3=snapshot) Linkage handle (associated video linkage event ID)
|  | accZone | varchar | 30 | YES | NO | NO | Access control area name
|  | accZoneCode | varchar | 30 | YES | NO | NO | Access control area number
|  | eventAddr | int2 | 16 | YES | NO | NO | Event point, default doorid
|  | eventLevel | int2 | 16 | YES | NO | NO | Event level (0=normal, 1=abnormal, 2=alarm)
|  | doorName | varchar | 100 | YES | NO | NO | Door name
|  | doorId | varchar | 50 | YES | NO | NO | Door ID
|  | maskFlag | varchar | 10 | YES | NO | NO | Whether to wear a mask 0: means that no mask is worn; 1: means that a mask is worn
|  | temperature | varchar | 50 | YES | NO | NO | body temperature
| Snap photo | path | varchar | 255 | NO | NO | YES | Verify the relative path of the photo
|  | base64 | varchar |  | NO | NO | YES | Verify photo base64 encoding

## Verification Method
| Serial Number | Internationalization key | name
Old verification method | 0 | common_verifyMode_cardOrFpOrPwd | Automatic Identification
| 1 | common_verifyMode_onlyFp | Fingerprint only
| 2 | common_verifyMode_onlyPin | Job number only
| 3 | common_verifyMode_onlyPwd | Password only
| 4 | common_verifyMode_onlyCard | Card only
| 5 | common_verifyMode_pwdOrFp | Fingerprint/password
| 6 | common_verifyMode_cardOrFp | Card/fingerprint
| 7 | common_verifyMode_cardOrPwd | Card/password
| 8 | common_verifyMode_pinAndFp | Job number + fingerprint
| 9 | common_verifyMode_fpAndPwd | Fingerprint+password
| 10 | common_verifyMode_cardAndFp | Card + fingerprint
| 11 | common_verifyMode_cardAndPwd | Card + password
| 12 | common_verifyMode_cardAndFpAndPwd | Card+password+fingerprint
| 13 | common_verifyMode_pinAndFpAndPwd | Work ID + Password + Fingerprint
| 14 | common_verifyMode_pinAndFpOrCardAndFp | Job ID+fingerprint/card+fingerprint
Access control
| 15 | acc_verify_mode_onlyface | human face
| 16 | acc_verify_mode_facefp | Face + fingerprint
| 17 | acc_verify_mode_facepwd | Face+password
| 18 | acc_verify_mode_facecard | Face + card
| 19 | acc_verify_mode_facefpcard | Face+fingerprint+card
| 20 | acc_verify_mode_facefppwd | Face+Fingerprint+Password
| 21 | acc_verify_mode_fv | Finger vein
| 22 | acc_verify_mode_fvpwd | Finger vein + password
| 23 | acc_verify_mode_fvcard | Finger vein + card
| 24 | acc_verify_mode_fvpwdcard | Finger vein + password + card
| 25 | acc_verify_mode_pv | palm
| 26 | acc_verify_mode_pvcard | Palm+card
| 27 | acc_verify_mode_pvface | Palm + face
| 28 | acc_verify_mode_pvfp | Palm + fingerprint
| 29 | acc_verify_mode_pvfacefp | Palm + face + fingerprint
Channel
| 25 | psg_verify_mode_pv | Palm vein
| 26 | psg_verify_mode_pvcard | Palm vein plus card
| 28 | psg_verify_mode_pvfp | Palm vein plus fingerprint
| 200 | common_verifyMode_other | other
New verification method | 0 | common_newVerify_mode_logic | Logical bit (including logical bit and relation)
| 1 | common_newVerify_mode_face | human face
| 2 | common_newVerify_mode_pv | palm
| 3 | common_newVerify_mode_pv | palm
| 4 | common_newVerify_mode_fp | fingerprint
| 5 | common_newVerify_mode_fv | Finger vein
| 6 | common_newVerify_mode_voice | Voiceprint
| 7 | common_newVerify_mode_iris | Iris
| 8 | common_newVerify_mode_retina | Retina
| 9 | common_newVerify_mode_pw | password
| 10 | common_newVerify_mode_pin | Job number
| 11 | common_newVerify_mode_rf | Card
| 12 | common_newVerify_mode_idcard | ID card

## Access Control Event
acc_eventNo_-1=None
acc_eventNo_0=Swipe the card normally to open the door
acc_eventNo_1=Swipe your card during the normally open time period
acc_eventNo_2=The first person opens the door (swiping card)
acc_eventNo_3=Multiple people open the door (swipe card)
acc_eventNo_4=Emergency password to open the door
acc_eventNo_5=Open the door during normally open time
acc_eventNo_6=Trigger linkage event
acc_eventNo_7=Cancel alarm
acc_eventNo_8=Remote open door
acc_eventNo_9=Remote close
acc_eventNo_10=Disable the normally open time period of the day
acc_eventNo_11=Enable the normal open time zone of the day
acc_eventNo_12=Open auxiliary output remotely
acc_eventNo_13=Remotely turn off auxiliary output
acc_eventNo_14=Press fingerprint to open the door normally
acc_eventNo_15=Multiple people open the door (press fingerprint)
acc_eventNo_16=Press the fingerprint during the normally open time period
acc_eventNo_17=Card and fingerprint to open the door
acc_eventNo_18=The first person opens the door (press fingerprint)
acc_eventNo_19=The first person opens the door (card plus fingerprint)
acc_eventNo_20=Operation interval is too short
acc_eventNo_21=Door non-valid time period (swipe card)
acc_eventNo_22=Illegal time period
acc_eventNo_23=Illegal access
acc_eventNo_24=Anti-passback
acc_eventNo_25=Interlock
acc_eventNo_26=Multi-person verification (swiping card)
acc_eventNo_27=Card not registered
acc_eventNo_28=Door open timeout
acc_eventNo_29=Card has expired
acc_eventNo_30=Incorrect password
acc_eventNo_31=The interval between fingerprints is too short
acc_eventNo_32=Multi-person verification (by fingerprint)
acc_eventNo_33=Fingerprint has expired
acc_eventNo_34=Fingerprint is not registered
acc_eventNo_35=Door non-valid time period (by fingerprint)
acc_eventNo_36=Door non-effective time period (press the exit button)
acc_eventNo_37=The door cannot be closed during the normally open period
acc_eventNo_38=The card has been reported as lost
acc_eventNo_39=Forbidden list
acc_eventNo_40=Multi-person verification failed (by fingerprint)
acc_eventNo_41=Incorrect authentication method
acc_eventNo_42=Wiegand format error
acc_eventNo_43=Anti-passback verification timeout
acc_eventNo_44=Background verification failed
acc_eventNo_45=Background verification timed out
acc_eventNo_47=Failed to send command
acc_eventNo_48=Multi-person verification failed (swiping card)
acc_eventNo_49=Door is not valid time period (password)
acc_eventNo_50=According to the password interval is too short
acc_eventNo_51=Multi-person authentication (password)
acc_eventNo_52=Multiple authentication failed (password)
acc_eventNo_53=The password has expired
acc_eventNo_100=Tamper alarm
acc_eventNo_101=Duress password to open the door
acc_eventNo_102=The door was opened accidentally
acc_eventNo_103=Duress fingerprint to open the door
acc_eventNo_200=The door is open
acc_eventNo_201=The door is closed
acc_eventNo_202=Exit button to open the door
acc_eventNo_203=Multiple people open the door (card plus fingerprint)
acc_eventNo_204=Normally open time period ends
acc_eventNo_205=Remote open door normally open
acc_eventNo_206=Device start
acc_eventNo_207=Password to open the door
acc_eventNo_208=Super user opens the door
acc_eventNo_209=trigger the exit button (locked)
acc_eventNo_210=Start firefighting to open the door
acc_eventNo_211=Super user closes
acc_eventNo_212=Enable elevator control function
acc_eventNo_213=Turn off elevator control function
acc_eventNo_214=Multiple people open the door (password)
acc_eventNo_215=The first person opens the door (password)
acc_eventNo_216=Press the password during the normally open time period
acc_eventNo_220=Auxiliary input point is disconnected
acc_eventNo_221=Auxiliary input point short circuit
acc_eventNo_222=Background verification succeeded
acc_eventNo_223=Background verification
acc_eventNo_225=The auxiliary input point is normal
acc_eventNo_226=Auxiliary input point trigger
acc_newEventNo_0=Open the door after normal verification
acc_newEventNo_1=Verify during the normally open time period
acc_newEventNo_2=The first person opens the door
acc_newEventNo_3=Multiple people open the door
acc_newEventNo_20=Operation interval is too short
acc_newEventNo_21=Door opening during non-valid time period verification
acc_newEventNo_26=Multi-person verification waiting
acc_newEventNo_27=person not registered
acc_newEventNo_29=Person has expired
acc_newEventNo_30=Incorrect password
acc_newEventNo_41=Verification method error
acc_newEventNo_43=Staff Lock
acc_newEventNo_44=Background verification failed
acc_newEventNo_45=Background verification timed out
acc_newEventNo_48=Multi-person verification failed
acc_newEventNo_54=The battery voltage is too low
acc_newEventNo_55=Replace battery immediately
acc_newEventNo_56=Illegal operation
acc_newEventNo_57=Backup power
acc_newEventNo_58=Normally open alarm
acc_newEventNo_59=Illegal management
acc_newEventNo_60=The door is locked
acc_newEventNo_61=Repeat verification
acc_newEventNo_62=User banned
acc_newEventNo_63=The door is locked
acc_newEventNo_64=The exit button is not operated within the effective time period
acc_newEventNo_65=Auxiliary input does not operate within the valid time period
acc_newEventNo_66=Read head upgrade failed
acc_newEventNo_67=Remote comparison is successful (device is not authorized)
acc_newEventNo_68=High body temperature-refused to pass
acc_newEventNo_69=Not wearing a mask-refused to pass
acc_newEventNo_70=The face matching server communication is abnormal
acc_newEventNo_71=An abnormal response from the face server
acc_newEventNo_73=Invalid QR code
acc_newEventNo_74=The QR code has expired
acc_newEventNo_101=Duress to open door alarm
acc_newEventNo_104=Invalid card swiping alarm
acc_newEventNo_105=Unable to connect to server
acc_newEventNo_106=Mains power failure
acc_newEventNo_107=Battery power down
acc_newEventNo_108=Unable to connect to the master
acc_newEventNo_109=Read head tamper alarm
acc_newEventNo_110=Read head offline
acc_newEventNo_159=Remotely open the door
acc_newEventNo_214=Successfully connected to the server
acc_newEventNo_217=Successfully connected to the master
acc_newEventNo_218=ID card access
acc_newEventNo_222=Background verification succeeded
acc_newEventNo_223=Background verification
acc_newEventNo_224=Press the doorbell
acc_newEventNo_227=Door double open
acc_newEventNo_228=Door pun
acc_newEventNo_229=Auxiliary output is regularly open
acc_newEventNo_230=Auxiliary output is regularly closed and normally open
acc_newEventNo_232=Verification passed
acc_newEventNo_233=Remote lock
acc_newEventNo_234=Remote unlock
acc_newEventNo_235=Read head upgrade successfully
acc_newEventNo_236=Read head tamper alarm is released
acc_newEventNo_237=Reader online
acc_newEventNo_239=Device call
acc_newEventNo_240=Call ended
acc_eventNo_undefined=The event number is not defined
acc_advanceEvent_500=Global anti-passback (logic)
acc_advanceEvent_501=Personnel effectiveness (effective date)
acc_advanceEvent_502=People control
acc_advanceEvent_503=Global interlock
acc_advanceEvent_504=Line definition
acc_advanceEvent_505=Global anti-passback (timed)
acc_advanceEvent_506=Global anti-passback (timing logic)
acc_advanceEvent_507=Personnel availability (valid days after first use)
acc_advanceEvent_508=Personnel effectiveness (number of uses)
acc_advanceEvent_509=Background verification failed (person not registered)
acc_advanceEvent_510=Background verification failed (data abnormal)
acc_alarmEvent_701=DMR alarm (setting rule: {0})

## Elevator control
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Elevator control | record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | unique_key | varchar | 250 | YES | NO | YES | Event unique identifier
|  | logId | int4 | 32 | YES | NO | NO | Log ID (the device turns on LogIDFunOn: log id function switch parameter)
|  | eventTime | timestamp |  | NO | NO | NO | Event time
|  | pin | varchar | 30 | YES | NO | NO | personnel number
|  | name | varchar | 50 | YES | NO | NO | Person's name
|  | lastName | varchar | 50 | YES | NO | NO | Personnel Last Name (Overseas)
|  | deptCode | varchar | 100 | YES | NO | NO | Department Number
|  | deptName | varchar | 100 | YES | NO | NO | Department name
|  | areaName | varchar | 100 | YES | NO | NO | Area name
|  | cardNo | varchar | 255 | YES | NO | NO | card number
|  | devId | varchar | 255 | YES | NO | NO | Device ID
|  | devSn | varchar | 30 | YES | NO | NO | devise serial number
|  | devAlias | varchar | 100 | YES | NO | NO | Equipment name
|  | floorNo | varchar | 255 | YES | NO | NO | Floor number (supports multi-floor devices, and analyzes the incident points uploaded by the device)
|  | verifyModeNo | int2 | 16 | YES | NO | NO | Verification Method Number Old verification method: the number corresponds to the verification method New verification method: Decimal numbers are parsed into binary numbers and output in reverse order. The subscript with a value of 1 indicates the verification method used; the logical bit is 1 for and relation, and 0 for or relation
|  | verifyModeName | varchar | 500 | YES | NO | NO | Verification method name (see worksheet-verification method for details)
|  | eventNo | int2 | 16 | NO | NO | NO | Event number
|  | eventName | varchar | 100 | YES | NO | NO | Event name
|  | eventPointType | int2 | 16 | YES | NO | NO | Event Type -1=None, 0=Read head event, 1=Auxiliary input point event, 2, Auxiliary output point event
|  | eventPointId | varchar | 255 | YES | NO | NO | Incident ID Reader event: if it is a reader linkage, the event point id is the reader id and the event point name is the reader name, otherwise the event point id is the id of the floor, and the event point name is the name of the floor Auxiliary input point event: the event point id is the id of the auxiliary input, and the event point name is the name of the auxiliary input If the device supports multiple floors, the event point ID is the device ID, and the event point name is the device name
|  | eventPointName | varchar | 100 | YES | NO | NO | Incident name
|  | readerName | varchar | 100 | YES | NO | NO | Read head name
|  | triggerCond | int2 | 16 | YES | NO | NO | Linkage trigger conditions
|  | description | varchar | 200 | YES | NO | NO | Event description
|  | vidLinkageHandle | varchar | 256 | YES | NO | NO | Media file path: Linkage event: type_linkage handle Type (1=pop-up video, 2=video, 3=snapshot) Linkage handle (associated video linkage event ID)
|  | eventLevel | int2 | 16 | YES | NO | NO | Event level (0=normal, 1=abnormal, 2=alarm)

## Elevator Control Event
ele_eventNo_-1=None
ele_eventNo_0=Swipe the card normally to release the button
ele_eventNo_1=Swipe the card during the normally open time period
ele_eventNo_5=Release the button during the normally open period
ele_eventNo_6=Trigger linkage event
ele_eventNo_7=Cancel alarm
ele_eventNo_8=Remote key release
ele_eventNo_9=Remote lock button
ele_eventNo_10=Disable the normal open time period of the day
ele_eventNo_11=Enable continuous release of keys on the day
ele_eventNo_14=Press the fingerprint normally to release the button
ele_eventNo_16=Press the fingerprint during the normally open time period
ele_eventNo_18=The first person releases the button (press fingerprint)
ele_eventNo_19=The first person releases the button (card plus fingerprint)
ele_eventNo_20=The operation interval is too short
ele_eventNo_21=Key inactive time period (swipe card)
ele_eventNo_22=Illegal time period
ele_eventNo_23=Illegal access
ele_eventNo_27=Card not registered
ele_eventNo_29=The card has expired
ele_eventNo_30=Incorrect password
ele_eventNo_31=The interval between fingerprints is too short
ele_eventNo_33=Fingerprint has expired
ele_eventNo_34=Fingerprint is not registered
ele_eventNo_35=Key inactive time period (press fingerprint)
ele_eventNo_37=The keys cannot be locked during the normally open period
ele_eventNo_38=The card has been reported as lost
ele_eventNo_42=Wiegand format error
ele_eventNo_47=Failed to send command
ele_eventNo_49=Key is not valid time period (password)
ele_eventNo_50=The interval between passwords is too short
ele_eventNo_53=The password has expired
ele_eventNo_103=Duress fingerprint release button
ele_eventNo_204=Normally open time period ends
ele_eventNo_205=Remotely release the button continuously
ele_eventNo_206=Equipment started
ele_eventNo_207=Press the password to release the button
ele_eventNo_208=Super user releases the button
ele_eventNo_210=Start the fire release button
ele_eventNo_211=Super User Off Floor
ele_eventNo_212=Enable elevator control function
ele_eventNo_213=Turn off elevator control function
ele_eventNo_214=Successfully connected to the server
ele_eventNo_216=Press the password during the normally open time period
ele_eventNo_220=Auxiliary input point is disconnected
ele_eventNo_221=Auxiliary input point short circuit
ele_eventNo_255=Floor status
ele_eventNo_undefined=The event number is undefined
ele_newEventNo_0=Verify the release button normally
ele_newEventNo_1=Verify during the normally open time period
ele_newEventNo_20=Operation interval is too short
ele_newEventNo_21=Verify release button for non-valid time period of floor
ele_newEventNo_27=No person registered
ele_newEventNo_29=The person has expired
ele_newEventNo_41=Incorrect verification method
ele_newEventNo_75=Combination verification timed out
ele_newEventNo_80=Unauthorized floor button trigger
ele_newEventNo_100=Anti-dismantling alarm
ele_newEventNo_105=Unable to connect to server
ele_newEventNo_109=Read head tamper alarm
ele_newEventNo_110=Read head offline alarm
ele_newEventNo_112=The expansion board is offline
ele_newEventNo_132=Cancel emergency status
ele_newEventNo_133=Cancel emergency status invalid
ele_newEventNo_134=In a restricted state
ele_newEventNo_150=Manual button short circuit
ele_newEventNo_151=Manual button disconnect
ele_newEventNo_152=Emergency button short circuit
ele_newEventNo_153=Emergency button disconnected
ele_newEventNo_154=Fire button short circuit
ele_newEventNo_155=Fire button disconnected
ele_newEventNo_236=Read head tamper alarm is released
ele_newEventNo_237=Reader online
ele_newEventNo_247=Expansion board online
ele_newEventNo_249=Direct button trigger
ele_newEventNo_250=Triggered by a floor button with permission
ele_newEventNo_251=Voice cancel button
ele_newEventNo_252=Voice on button

## Passage
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Passage | Record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | unique_key | varchar | 250 | YES | NO | YES | Event unique identifier
|  | logId | int4 | 32 | YES | NO | NO | Log ID (the device turns on LogIDFunOn: log id function switch parameter)
|  | eventTime | timestamp |  | NO | NO | NO | Event time
|  | pin | varchar | 30 | YES | NO | NO | personnel number
|  | name | varchar | 50 | YES | NO | NO | Person's name
|  | lastName | varchar | 50 | YES | NO | NO | Personnel Last Name (Overseas)
|  | deptCode | varchar | 100 | YES | NO | NO | Department Number
|  | deptName | varchar | 100 | YES | NO | NO | Department name
|  | areaName | varchar | 100 | YES | NO | NO | Area name
|  | cardNo | varchar | 255 | YES | NO | NO | card number
|  | devId | varchar | 255 | YES | NO | NO | Device ID
|  | devSn | varchar | 30 | YES | NO | NO | devise serial number
|  | devAlias | varchar | 100 | YES | NO | NO | Equipment name
|  | verifyModeNo | int2 | 16 | YES | NO | NO | Verification method number
|  | verifyModeName | varchar | 500 | YES | NO | NO | Verification method name (see worksheet-verification method for details)
|  | eventNo | int2 | 16 | NO | NO | NO | Event number
|  | eventName | varchar | 100 | YES | NO | NO | Event name
|  | eventPointType | int2 | 16 | YES | NO | NO | Event Type -1=None, 0=Gate event, 1=Auxiliary input point event
|  | eventPointId | varchar | 255 | YES | NO | NO | Incident ID Reader event: if it is a reader linkage, the event point id is the reader id and the event point name is the reader name, otherwise the event point id is the gate id, and the event point name is the gate name Auxiliary input point event: the event point id is the id of the auxiliary input, and the event point name is the name of the auxiliary input
|  | eventPointName | varchar | 100 | YES | NO | NO | Incident name
|  | gateType | int2 | 16 | YES | NO | NO | Gate type (1=three roller gate, 2=wing gate, 3=swing gate)
|  | passageName | varchar | 100 | YES | NO | NO | Channel name
|  | readerState | int2 | 16 | YES | NO | NO | Read head status (0=in, 1=out, 2=other)
|  | readerName | varchar | 100 | YES | NO | NO | Read head name
|  | triggerCond | int2 | 16 | YES | NO | NO | Linkage trigger conditions
|  | description | varchar | 200 | YES | NO | NO | Event description
|  | vidLinkageHandle | varchar | 256 | YES | NO | NO | Media file path: Linkage event: type_linkage handle Type (1=pop-up video, 2=video, 3=snapshot) Linkage handle (associated video linkage event ID)
|  | eventAddr | int2 | 16 | YES | NO | NO | Incident

## Passage Event
psg_eventNo_0=Swipe the card normally to open the gate
psg_eventNo_1=Swipe the card during the normally open time period
psg_eventNo_2=The first person opens the gate (swiping card)
psg_eventNo_3=Multi-person gate opening (swiping card)
psg_eventNo_4=Emergency password to open the gate
psg_eventNo_5=Open gate during normally open time
psg_eventNo_6=Trigger linkage event
psg_eventNo_7=Cancel alarm
psg_eventNo_8=Remote gate opening
psg_eventNo_9=Remote closing gate
psg_eventNo_10=Disable the normal open time period of the day
psg_eventNo_11=Enable daily open time zone
psg_eventNo_12=Open auxiliary output remotely
psg_eventNo_13=Remotely turn off auxiliary output
psg_eventNo_14=Press fingerprint to open gate normally
psg_eventNo_15=Open gate by multiple people (press fingerprint)
psg_eventNo_16=Press the fingerprint during the normally open time period
psg_eventNo_17=Card and fingerprint open gate
psg_eventNo_18=The first person opens the gate (by fingerprint)
psg_eventNo_19=The first person opens the gate (card plus fingerprint)
psg_eventNo_20=The operation interval is too short
psg_eventNo_21=Gate non-valid time period (swiping card)
psg_eventNo_22=Illegal time period
psg_eventNo_23=Illegal access
psg_eventNo_24=Anti-passback
psg_eventNo_25=Interlock
psg_eventNo_26=Multi-person verification (swiping card)
psg_eventNo_27=Card is not registered
psg_eventNo_28=Gate opening timeout
psg_eventNo_29=The card has expired
psg_eventNo_30=Incorrect password
psg_eventNo_31=The interval between fingerprints is too short
psg_eventNo_32=Multi-person verification (by fingerprint)
psg_eventNo_33=Fingerprint has expired
psg_eventNo_34=Fingerprint is not registered
psg_eventNo_35=Gate non-valid time period (by fingerprint)
psg_eventNo_36=The gate is not valid time period (press the gate button)
psg_eventNo_37=The gate cannot be closed during the normally open period
psg_eventNo_38=The card has been reported as lost
psg_eventNo_39=Blacklist
psg_eventNo_40=Multi-person verification failed (by fingerprint)
psg_eventNo_41=Wrong authentication method
psg_eventNo_42=Wiegand format error
psg_eventNo_43=Anti-passback verification timed out
psg_eventNo_44=Background verification failed
psg_eventNo_45=Background verification timed out
psg_eventNo_47=Failed to send command
psg_eventNo_48=Multi-person verification failed (swiping card)
psg_eventNo_49=The gate is not valid time period (password)
psg_eventNo_50=The password interval is too short
psg_eventNo_51=Multi-person authentication (password)
psg_eventNo_52=Multi-person verification failed (password)
psg_eventNo_53=The password has expired
psg_eventNo_100=Anti-dismantling alarm
psg_eventNo_101=Duress password to open the gate
psg_eventNo_102=The gate was opened unexpectedly
psg_eventNo_103=Duress fingerprint to open gate
psg_eventNo_200=Gate has been opened
psg_eventNo_201=The gate is closed
psg_eventNo_202=The exit button opens the gate
psg_eventNo_203=Multiple people open the gate (card plus fingerprint)
psg_eventNo_204=Normally open time period ends
psg_eventNo_205=Remote open gate normally open
psg_eventNo_206=Device start
psg_eventNo_207=Password open gate
psg_eventNo_208=Super user opens the gate
psg_eventNo_209=Triggered the exit button (locked)
psg_eventNo_210=Start fire gate opening
psg_eventNo_211=Super user closes the gate
psg_eventNo_212=Enable elevator control function
psg_eventNo_213=Disable elevator control function
psg_eventNo_214=Open gate by multiple people (password)
psg_eventNo_215=The first person to open the gate (password)
psg_eventNo_216=Press the password during the normally open time period
psg_eventNo_220=Auxiliary input point is disconnected
psg_eventNo_221=Auxiliary input point short circuit
psg_eventNo_222=Background verification succeeded
psg_eventNo_223=Background verification
psg_eventNo_225=The auxiliary input point is normal
psg_eventNo_226=Auxiliary input point trigger
psg_newEventNo_0=Open gate after normal verification
psg_newEventNo_1=Verify during the normally open time period
psg_newEventNo_2=The first person opens the gate
psg_newEventNo_3=Multiple people open the gate
psg_newEventNo_20=Operation interval is too short
psg_newEventNo_21=Verification of gate opening during non-valid time period
psg_newEventNo_26=Waiting for multi-person verification
psg_newEventNo_27=No person registered
psg_newEventNo_29=Person has expired
psg_newEventNo_30=Wrong password
psg_newEventNo_41=Incorrect verification method
psg_newEventNo_44=Background verification failed
psg_newEventNo_45=Background verification timed out
psg_newEventNo_48=Multi-person verification failed
psg_newEventNo_54=The battery voltage is too low
psg_newEventNo_55=Replace battery immediately
psg_newEventNo_56=Illegal operation
psg_newEventNo_57=Backup power
psg_newEventNo_58=Normally open alarm
psg_newEventNo_59=Illegal management
psg_newEventNo_60=The gate is locked
psg_newEventNo_61=Repeat verification
psg_newEventNo_62=User is forbidden
psg_newEventNo_63=Advance is prohibited
psg_newEventNo_64=No access to exit
psg_newEventNo_65=Infrared is abnormal
psg_newEventNo_66=Swing encoder error
psg_newEventNo_67=Swing encoder or motor error
psg_newEventNo_68=Wing gate limit switch error
psg_newEventNo_69=Wing gate limit switch or motor error
psg_newEventNo_70=Communication error between master and slave gates
psg_newEventNo_71=The gate is locked
psg_newEventNo_101=Duress opening alarm
psg_newEventNo_104=Invalid card swiping alarm
psg_newEventNo_105=Unable to connect to server
psg_newEventNo_106=Mains power failure
psg_newEventNo_107=Battery lost
psg_newEventNo_108=Unable to connect to the master
psg_newEventNo_110=The gate is not connected
psg_newEventNo_111=Illegal exit in advance
psg_newEventNo_112=Illegal exit from exit
psg_newEventNo_113=Inbound gate opening timeout
psg_newEventNo_114=Outbound gate opening timeout
psg_newEventNo_115=Illegal entry
psg_newEventNo_116=Illegal entry
psg_newEventNo_117=Advance stay alarm
psg_newEventNo_118=Outgoing stay alarm
psg_newEventNo_119=Advance trailing alarm
psg_newEventNo_120=Outgoing trailing alarm
psg_newEventNo_121=Advance retrograde alarm
psg_newEventNo_122=Outgoing retrograde alarm
psg_newEventNo_159=Remote gate opening
psg_newEventNo_214=Successfully connected to the server
psg_newEventNo_217=Successfully connected to the master
psg_newEventNo_218=ID card access
psg_newEventNo_222=Background verification succeeded
psg_newEventNo_223=Background verification
psg_newEventNo_224=Press the brake bell
psg_newEventNo_227=Double gate open
psg_newEventNo_228=Double gate
psg_newEventNo_229=Auxiliary output is regularly open
psg_newEventNo_230=Auxiliary output is regularly closed and normally open
psg_newEventNo_232=Verification passed
psg_newEventNo_233=Remote lock
psg_newEventNo_234=Remote unlock
psg_newEventNo_240=Remote gate opening (in)
psg_newEventNo_241=Remote gate opening (out)
psg_newEventNo_242=Advance gate opened successfully
psg_newEventNo_243=Outbound gate opened successfully
psg_eventNo_undefined=The event number is undefined
#Extended event-normal event
psg_newEventNo_4000=Fire normally open ended
psg_newEventNo_4001=Normal traffic
#Extended event-exceptional event
psg_newEventNo_5000=Clutch abnormal
psg_newEventNo_5001=The fire board is abnormal
psg_newEventNo_5002=The fire board loses electricity
psg_newEventNo_5003=Power supply abnormal
psg_newEventNo_5004=Signal synchronization abnormal
psg_newEventNo_5005=Motor current is too large
psg_newEventNo_5006=The motherboard current load is too large
psg_newEventNo_5007=Main board current overload
psg_newEventNo_5008=Received continuous gate opening signal
psg_newEventNo_5009=Voice loading abnormal
psg_newEventNo_5010=The secondary machine is offline
psg_newEventNo_5011=The slave communication interface is disconnected
psg_newEventNo_5012=Belt disconnected
psg_newEventNo_5013=The opening solenoid is abnormal
psg_newEventNo_5014=The pole drop solenoid is abnormal
psg_newEventNo_5015=The gate cannot be put on the pole
psg_newEventNo_5016=The gate cannot drop the bar
#Extended event-warning event
psg_newEventNo_6000=Fire start normally open
#Custom Event
psg_customEvent_nonPersonVerification=NonPersonVerification

## Intelligent Scene
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Intelligent Scene | Record | id | varchar | 50 | NO | YES | YES | Primary key ID
|  | deviceId | varchar | 50 | NO | NO | NO | Device ID
|  | eventTime | timestamp |  | NO | NO | NO | Event Time
|  | captureImage | varchar | 100 | NO | NO | NO | Captured Image
|  | eventCode | varchar | 50 | NO | NO | YES | Event Code（Event unique identifier）
|  | eventEndTime | timestamp |  | NO | NO | NO | Alarm End Time
|  | personType | varchar | 50 | YES | NO | NO | Personnel Type
|  | snapshotTime | timestamp |  | NO | NO | NO | Snapshot Time
|  | facePic | varchar | 255 | YES | NO | NO | Face Cutout
|  | faceId | int4 | 4 | YES | NO | NO | Face Id
|  | faceMatchRate | int4 | 4 | YES | NO | NO | Match Ratio
|  | libFacePic | varchar | 250 | YES | NO | NO | Pictures in the face library
|  | facePicTime | timestamp |  | YES | NO | NO | Face Crop
|  | libName | varchar | 50 | YES | NO | NO | Library Name
|  | matchResult | boolean |  | YES | NO | NO | Match Result（true:success；false:failed）
|  | libType | int4 | 4 | YES | NO | NO | List Library Type（1=Banned List，2=Pass List）
|  | name | varchar | 50 | YES | NO | NO | Name
|  | gender | int4 | 4 | YES | NO | NO | Gender
|  | cardType | int4 | 4 | YES | NO | NO | Identity Document Type(0:Identity card;1:Passport;2:Military ID;3:Driving licence;4:Other)
|  | pin | varchar | 50 | YES | NO | NO | Pin
|  | bindingTransactionId | varchar | 50 | YES | NO | NO | Event linkage Id of an event in another module（Tailing Detection）
|  | bindDeviceId | varchar | 50 | YES | NO | NO | Event linkage Device Id of an event in another module（Tailing Detection）
|  | bindingDeviceSourceModule | varchar | 50 | YES | NO | NO | Event linkage Module name in other modules（Tailing Detection）
|  | allIn | int4 | 4 | YES | NO | NO | Total entry（People Counting）
|  | allOut | int4 | 4 | YES | NO | NO | Total departures（People Counting）
|  | increNumIn | int4 | 4 | YES | NO | NO | Enter the incremental（People Counting）
|  | increNumOut | int4 | 4 | YES | NO | NO | Leave the incremental（People Counting）
|  | peopleNum | int4 | 4 | YES | NO | NO | Population density
|  | lineCoordinate | varchar | 255 | YES | NO | NO | Warning line information ("left,top,right,bottom" is a group, forming a line segment, multiple line segments are separated by "_" : For example, "120,251,346,232" represents a line segment; "181,245,249,233,120,55,120, 288,16,235,314,199" represents a triangular region.)
|  | parentTransactionConfig | varchar | 50 | YES | NO | NO | Event Level Config Parent Id
|  | areaId | varchar | 50 | NO | NO | NO | Area Id
|  | transactionConfigId | varchar | 50 | NO | NO | NO | Event Level Config Id
| Snap photo | path | varchar | 255 | NO | NO | YES | Verify the relative path of the photo
|  | base64 | varchar |  | NO | NO | YES | Verify photo base64 encoding

## Intelligent Video
Module | Push Type | Field | Data Type | Length | Allow Null | Primary Key | Unique | Remark
Smart video (intelligent video data is not stored in the database, it is directly taken from the record of the device) | Record | id | String |  |  |  | YES | Event ID (IVS1800 only)
|  | name | String |  |  |  | NO | Alarm name
|  | code | String |  |  |  | NO | Alarm Code (IVS1800 only)
|  | alarmLevel | String |  |  |  | NO | Alarm Severity (IVS1800 only)
|  | metaType | String |  |  |  | NO | Metadata Type Face FACE / Human Body PERSON / Vehicle MOTOR_VEHICLE / Behavior Analysis BEHAVIOR / Non-Motor Vehicle NON_MOTOR_VEHICLE
|  | status | int |  |  |  | NO | Alarm status (IVS1800 only) •0: Unhandled •1: Pending confirmation •2: Confirmed •3: Cancelled •4: Recovered
|  | channelId | String |  |  |  | NO | channel id
|  | alarmCodeType | String |  |  |  | NO | Alert Type
|  | source | String |  |  |  | NO | Source 0: Front-end alarm 1: IVS1800 internal intelligent analysis alarm
|  | notificationId | String |  |  |  | NO | Notification ID
| Snap photo | snapshot | String |  |  |  | NO | screenshot base64
|  | panorama | String |  |  |  | NO | panorama base64
|  | matchedImage | String |  |  |  | NO | match image base64